## SE-1010
EDAN INSTRUMENTS INC.
3/F-B, Nanshan Medical Equipments Park,Nanhai Rd 1019#, Shenzhen, 518067, P.R.China
FAX :0086-755-26898330 Email: info@edan.com.cn www.edan.com.cn
Net Price List for SE-1010 PC ECG
EDAN\QR\IM25\A
USD-ECG-SE1010-V1.0-20120105
(in USD, Ex-Works, Shenzhen, P.R.China)
SE-1010 |  | Standard Configuration and function including: | 650
Simultaneous 12 leads acquisition and recording,economical solution for 12 channel ECG
Integrated data sampling module and software,compact solution for ECG examination
Auto/manual measurement and interpretation
Convenient database based on unlimited storage
WORD and PDF format report could be transferred via E-mail
30s-900s HRV (heart rate variability) sample and analyse
Advance analysis function:VCG,TVCG,VLP,HRT,QT dispersion,HFECG, Frequency spectrum ECG
Standard Accessories
| PART NO. | DESCRIPTION | Quantity
Sampling Box
1 | 02.01.210039 | ECG Data Sampling Box | 1
2 | 01.57.106902 | ECG Cable (ф4mm,banana connector,IEC) | 1 □
| 01.57.107048 | ECG Cable (ф4mm,banana connector,AHA) | 1 □
3 | 01.57.040163 | Adult Precordial suction electrodes (6 PCS/set, match ф4mm ECG cable) | 1 set
4 | 01.57.040162-12 | Adult Limb clamp electrodes (4 PCS/set, match ф4mm ECG cable) | 1 set
5 | 01.13.036134 | USB Connection Cable (for SE-1010 PC ECG） | 1
Software
6 | 02.01.210065 | SE-1010 PC ECG Software CD | 1
7 | 01.18.047225 | USB Sentinel (for SE-1010 PC ECG Software) | 1
Others
8 | 11.56.078136 | Carrying Bag | 1
9 | N/A | SE-1010 PC ECG User Manual | 1
10 | N/A | SE-1010 PC ECG Quick Reference Card | 1
11 | N/A | User Guide for Interpretation | 1
12 | N/A | Software install guide
Optional Accessories:
| PART NO. | DESCRIPTION | Added Price
RESTING ECG
ECG Cable
1 | 01.57.106902 | ECG Cable (ф4mm, banana connector, IEC) | 65
2 | 01.57.107048 | ECG Cable (ф4mm, banana connector, AHA) | 65
3 | 01.57.471101-10 & 01.57.471100-10 | ECG trunk Cable with Leadwires kit,(ф4mm, banana connector, IEC): ECG trunk Cable (IEC) ECG Leadwires,(ф4mm, banana connector, IEC) | 95
4 | 01.57.471107-10 & 01.57.471108-10 | ECG trunk Cable with Leadwires kit,(ф4mm, banana connector, AHA): ECG trunk Cable (AHA) ECG Leadwires,(ф4mm, banana connector, AHA) | 95
5 | 01.57.471101-10 | ECG trunk Cable (IEC) | 50
6 | 01.57.471100-10 | ECG Leadwires,(ф4mm, banana connector, IEC) | 45
7 | 01.57.471107-10 | ECG trunk Cable (AHA) | 50
8 | 01.57.471108-10 | ECG Leadwires,(ф4mm, banana connector, AHA) | 45
9 | 01.57.107581 | ECG Cable (Snap Style, IEC) | 80
10 | 01.57.107582 | ECG Cable (Snap Style, AHA) | 80
11 | 01.57.107583 | ECG Cable (Grabber Style, IEC) | 62
12 | 01.57.107584 | ECG Cable (Grabber Style, AHA) | 62
ECG Adapters
13 | 01.13.107449 | Snap/Banana Socket Adapters (10 PCS/set, match ф4mm ECG cable)[2] | 30
14 | 01.57.040172 | Clip/Snap/Banana Socket Adapter (10 PCS/set, match ф4mm or ф3mm ECG cable)[2] | 30
15 | 01.57.040173 | Alligator Clip/Banana Socket Adapters(10 PCS/set, match ф4mm ECG cable)[2] | 30
Disposable Electrodes
16 | 11.57.471056 | Adult Disposable Adhesive Electrode (1 piece, 30 pcs/pack, matches Snap socket, CE) | 0.3
17 | 11.57.471057 | Children/Neonatal Disposable Adhesive Electrode (1 piece, 50 pcs/pack, matches Snap socket, CE) | 0.7
18 | 11.57.471060 | Adult Disposable Adhesive Electrode (1 piece, 100 pcs/pack, matches Snap socket, FDA) | 0.5
Reuseable ECG Electrodes
19 | 01.57.040163 | Adult Precordial Suction Electrodes (6 PCS/set, match ф4mm ECG cable) | 12
20 | 01.57.040162-12 | Adult Limb Clamp Electrodes (4 PCS/set, match ф4mm ECG cable) | 12
21 | 02.04.110842 & '02.04.110843 | EDAN Reusable Resting Electrodes： 1 set EDAN ES-10 Adult Precordial Suction Electrode (6 PCS/set, match ф 4mm ECG cable) 1 set EDAN EC-10 Adult Limb Clamp Electrode (4 PCS/set,match ф4mm ECG cable) | 60
22 | 02.04.110842 | EDAN, ES-10, Adult Precordial Suction Electrodes ( 6 PCS/set,match ф4mm ECG cable) | 35
23 | 02.04.110843 | EDAN, EC-10, Adult Limb Clamp Electrodes (4 PCS/set, match ф4mm ECG cable) | 30
24 | 01.57.040168 | Children Precordial Suction Electrodes (6 PCS/set, match ф4mm ECG cable) | 20
25 | 01.57.040169 | Children Limb Clamp Electrodes (4 PCS/set, match ф3mm or ф4mm ECG cable) | 35
STRESS ECG
Stress ECG Function and Accessories
26 | 02.04.240223 | STRESS ECG Upgrade Package： 1 USB Sentinel (for both STRESS test and resting ECG) 1 USB Connection/BNC External ECG Trigger Cable (for Stress test) 1 Belt (1.6m) □ 1 ECG Cable (Snap style,IEC) □ 1 ECG Cable (Snap style,AHA) 2 Adult Disposable Adhesive Electrodes (25 PCS/package) | 1000
27 | 01.57.109850 | ECG Cable (Snap style,IEC) | 80
28 | 01.57.109851 | ECG Cable (Snap style,AHA) | 80
29 | 01.57.107418 | Single-use Abrasive Pad for Skin Preparation（10 cards/package） | 0.5
30 | 11.57.471046 | Adult Disposable Adhesive Electrodes (25PCS/package) | 18
31 | 01.57.106750 | Belt (1.4m) | 3
32 | 01.13.036135-10 | USB Connection/BNC External ECG Trigger Cable (for Stress test) | 8
Ergometer and Stress Blood Pressure Monitor
33 | 03.28.328014 | EDAN TM-400 Treadmill[1] | 3000
34 | 03.28.328019 | Blood Pressure Monitor (Suntech Tango+) and Accessories: 1 Blood Pressure Monitor (Suntech Tango+) 1 RS232 Cable for Blood Pressure Monitor 1 Power Supply (Suntech PN:19-0012-00) 1 Patient Cable (Suntech PN:91-0001-00) 1 Orbit-K Adult Cuff (Suntech PN:98-0062-02) 1 K-sound Microphone, 14" (Suntech PN:98-0006-00) | 4000
35 | 01.13.036135-10 | RS232 Cable for Blood Pressure Monitor | 100
36 | N/A | Power Supply (Suntech PN:19-0012-00) | 190
37 | N/A | Patient Cable (Suntech PN:91-0001-00) | 170
38 | N/A | Orbit-K Adult Cuff (Suntech PN:98-0062-02) | 200
39 | N/A | K-sound Microphone, 14" (Suntech PN:98-0006-00) | 135
Other Software Functions & Accessories
Printer
40 | 11.18.052219 | External Laser Printer (HP, P2035) | 520
Mouting Solution
41 | 12.07.76001 | PC Trolly | 150
42 | 11.56.078136-11 | Carrying Bag | 15
Anti-Interferance
43 | 11.25.78047 | Electrode Cream (65ml) | 2
Service Related
44 | 01.13.036134 | USB Connection Cable (for SE-1010 PC ECG） | 10
45 | N/A | SE-1010 PC ECG Service Manual | 5
46 | N/A | ST-1212 STRESS ECG Service Manual | 5
Note:
[1] EDAN TM-400 Treadmill is only available in the markets without FDA 510（k）requirements
[2] Adapters are only available together with ECG cable
Pictures are for reference only
Contents are subject to change without prior notice

## SE-1010 (Wireless)
EDAN INSTRUMENTS INC.
3/F-B, Nanshan Medical Equipments Park,Nanhai Rd 1019#, Shenzhen, 518067, P.R.China
FAX :0086-755-26898330 Email: info@edan.com.cn www.edan.com.cn
Net Price List for SE-1010 PC ECG
EDAN\QR\IM25\A
USD-ECG-SE1010 (Wireless)-V1.0-20120105
(in USD, Ex-Works, Shenzhen, P.R.China)
SE-1010 (Wireless) |  | Standard Configuration and function including: | 2200
Simultaneous 12 leads acquisition and recording,economical solution for 12 channel ECG
Blue-tooth transmission between sampling and receiving box enables patients to go wireless during a test
Auto/manual measurement and interpretation
Convenient database based on unlimited storage
WORD and PDF format report could be transferred via E-mail
30s-900s HRV (heart rate variability) sample and analyse
Advance analysis function:VCG,TVCG,VLP,HRT,QT dispersion,HFECG, Frequency spectrum ECG
Standard Accessories
| PART NO. | DESCRIPTION | Quantity
Sampling items
1 | 02.06.260163 | ECG Data Sampling Box | 1
2 | 02.06.260164 | ECG Data Receiving Box | 1
3 | 01.57.471030-10 | ECG Cable (Snap style,IEC) | 1 □
4 | 11.57.471046 | Adult Disposable Adhesive Electrodes (25 pcs/pack) | 1 pack
5 | 01.57.107418 | Single-use Abrasive Pad for Skin Preparation（10 pcs/pack） | 1 pack
6 | 01.57.471054-10 | Belt (1400mm*105mm) | 1
7 | 01.13.036135-10 | USB Connection Cable | 1
Software
8 | 02.01.210065 | SE-1010 (Wireless) PC ECG Software CD | 1
9 | 01.18.047229 | USB Sentinel (for Resting and Stress test software) | 1
Others
10 | 11.56.078136-11 | Carrying Bag | 1
11 | 11.18.078205 | Antitheft lock | 1
12 | 01.21.064086 | AA Alkalihne battery | 2
13 | N/A | SE-1010 PC ECG User Manual | 1
14 | N/A | SE-1010 PC ECG Quick Reference Card | 1
11 | N/A | User Guide for Interpretation | 1
15 | N/A | Software installation guide | 1
Optional Accessories:
| PART NO. | DESCRIPTION | Added Price
Sampling items
16 | 01.57.471030-10 | ECG Cable (Snap style,IEC) | 80
17 | 02.06.260163 | ECG Data Sampling Box | 500
18 | 02.06.260164 | ECG Data Receiving Box | 500
19 | 01.57.471054-10 | Belt (1400mm*105mm) | 3
20 | 01.13.036135-10 | USB Connection Cable | 10
Electrodes and Abrasive Pads
21 | 11.57.471056 | Adult Disposable Adhesive Electrode (1 piece, 30 pcs/pack, matches Snap socket, CE) | 0.3
22 | 11.57.471057 | Children/Neonatal Disposable Adhesive Electrode (1 piece, 50 pcs/pack, matches Snap socket, CE) | 0.7
23 | 11.57.471060 | Adult Disposable Adhesive Electrode (1 piece, 100 pcs/pack, matches Snap socket, FDA) | 0.5
24 | 01.57.107418 | Single-use Abrasive Pad for Skin Preparation（1 piece, 10 pcs/pack） | 0.5
Ergometer and Stress Blood Pressure Monitor
25 | 03.28.328014 | EDAN TM-400 Treadmill[1] | 3000
26 | 03.28.328019 | Blood Pressure Monitor (Suntech Tango+) and Accessories: 1 Blood Pressure Monitor (Suntech Tango+) 1 RS232 Cable for Blood Pressure Monitor 1 Power Supply (Suntech PN:19-0012-00) 1 Patient Cable (Suntech PN:91-0001-00) 1 Orbit-K Adult Cuff (Suntech PN:98-0062-02) 1 K-sound Microphone, 14" (Suntech PN:98-0006-00) | 4000
27 | 01.13.036135-10 | RS232 Cable for Blood Pressure Monitor | 100
28 | N/A | Power Supply (Suntech PN:19-0012-00) | 190
29 | N/A | Patient Cable (Suntech PN:91-0001-00) | 170
30 | N/A | Orbit-K Adult Cuff (Suntech PN:98-0062-02) | 200
31 | N/A | K-sound Microphone, 14" (Suntech PN:98-0006-00) | 135
Other Software Functions & Accessories
Printer
32 | 11.18.052219 | External Laser Printer (HP, P2035) | 520
Mouting Solution
33 | 12.07.76001 | PC Trolly | 150
34 | 11.56.078136-11 | Carrying Bag | 15
Anti-Interferance
35 | 11.25.78047 | Electrode Cream (65ml) | 2
User Manual and Service Manual
36 | N/A | User Guide for Interpretation | 5
37 | N/A | User Guide for Advanced function | 5
38 | N/A | SE-1010 PC ECG Service Manual | 5
39 | N/A | ST-1212 STRESS ECG Service Manual | 5
Note:
[1] EDAN TM-400 Treadmill is only available in the markets without FDA 510（k）requirements
Pictures are for reference only
Contents are subject to change without prior notice